Contractor Logo

REQUEST FOR INFORMATION (RFI)

| PROJECT NAME: Supply and Installation of Automatic Circular Sliding Door at T04 Building |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PO No. 11278 |  | Ref. No.: |  | Rev.: 00 |  | Date: November 5, 2025 |
| RFI SUBJECT: Missing Dimension in Section B-B of Drawing A-305 |  |  |  |  |  |  |
| Trades / Discipline: Architectural / Structural |  |  |  |  |  |  |
| Reference Document: Drawing A-305, Revision [Insert Rev. No.] |  |  |  |  |  |  |
| Details of RFI: We require clarification regarding a missing dimension in Drawing A-305, Section B-B. Issue Description: Section B-B (Cross-section detail) on Drawing A-305 does not include the vertical dimension from finished floor level (FFL) to the underside of the structural beam. This dimension is critical for: 1. Accurate formwork installation 2. Coordination with MEP services clearance requirements 3. Door header installation alignment Request: Please provide the missing vertical dimension in Section B-B or confirm if we should refer to an alternate drawing/section for this information. Impact if not resolved: - Potential rework of formwork - Delay in concrete pouring schedule - Risk of inadequate headroom clearance: |  |  |  |  |  |  |
| Attached Documents: - Marked-up Drawing A-305, highlighting the missing dimension - Site photograph showing current construction status |  |  |  |  |  |  |
| PREPARED BY: Site Engineer / Project Coordinator | CHECKED BY: QA/QC Manager |  |  |  | RECEIVED BY: |  |
| Signature: Date: November 5, 2025 | Signature: Date: November 5, 2025 |  |  |  | Signature: Date: |  |
| CONSULTANTS’ RESPONSE |  |  |  |  |  |  |
| MP ENGINEER REP.: DATE : |  |  | MP PROJECT MANAGER: DATE : |  |  |  |
| CLIENT APPROVAL.: DATE : |  |  |  |  |  |  |