ASB - BOQ Extract – Blockwork & Plastering

| Item No. | Description of Work | Unit | Quantity | Unit Rate (QAR) | Total (QAR) |
| --- | --- | --- | --- | --- | --- |
| 2.01 | Hollow block wall 200 mm thick | m² | 450 | 110 | 49,500 |
| 2.02 | Cement plaster 15 mm thick (internal) | m² | 620 | 45 | 27,900 |
| 2.03 | Cement plaster 20 mm thick (external) | m² | 300 | 55 | 16,500 |
| 2.04 | Painting – emulsion 2 coats | m² | 800 | 22 | 17,600 |